Estimating Repair Costs

Basic Labor and Materials Costs for Common Repairs

Nashville, Tennessee Prices

Last updated 09/2020

Note: These are CINCINNATI prices, and are general guidelines only.  Be cognizant that more complicated jobs – for instance, drywall that needs special cuts because the room in unusually shaped – can increase the cost per job.

Note:  Don’t let the note above stop you from making offers!  With an inspection contingency, you can always bring in a pro to give you estimates once the offer is accepted!

Note:  There can be a significant difference in the costs for doing a “rental” level repair/rehab versus the costs for doing a “retail” level renovation.  These costs reflect some of those differences.

Exterior Carpentry				METRIC				RETAIL    	RENTAL

Porch railing				per 6’ section			$  120		$  120

Replace bandboard			per 12’ section			$  550		$  550

Replace clapboard			per board foot			$ 5 -10		$ 5-10

Wood porch				per square foot			$ 25 +up      	$25+up

Replace porch support			each				$75 – 100   	$75-100

Replace wood trim			per linear foot			$      4		$     4

Concrete Work

Sidewalks (4 ft wide)			per linear foot			$    40		$    40

Stairs					per stair				$    60		$    60

Driveways (8 ft wide)			per linear foot			$    75		$    75

Concrete porch				per square foot			$ 25 – 30      	$25-30

Retaining wall				per square foot face		$    40		$    40

Brick Tuckpointing			per linear foot			$    10		$    10

Painting – Exterior

Scraping, prepping, primer, paint		per square foot			$      2		$      2

Minor prep, paint				per square foot			$ 1 - 1.50    	$1-1.50

Paint Foundation				per square foot			$     1.50    	$  1.50

Siding (installed with insulation and wrapping)

Vinyl, stock colors, medium grade		per square			$  250		$  250

Additional Stories				per square additional 		$    50		$    50

Hardieboard				per square			$  425		    N/A

Replace missing siding			per linear foot			$      5		$     5

Aluminum Wrap				per linear foot			$    10		$    10

Garage Doors

8’ x 7’ Garage Door			each				$  800		$  800

9’ x 7’ Garage Door			each				$  900		$  900

Garage door opener			each				$  400		$  400

Roofing

Tear off and disposal 			per square per layer		$   100		$  100

New decking				per 4 x 8 sheet			$ 40 – 50      	$40-50

New fiberglass shingles (dimensional)	per square			$   200           	$  200

Each additional story after 1st		per square			$    50		$    50

3 tab shingles instead of dimensional	job				   N/A		$ -200

Soffit repair				per linear foot			$      4		$      4

Rafter ends				each				$      5		$      5

Gutters and downspouts (aluminum, seamless, installed)

One story house				per linear foot			$       6		$      6

Additional story				per foot				$       1		$      1

Box gutter repair				per linear foot			$ 6 – 8		$ 6 –8

Soffit Repair				per linear foot			$       4		$      4

Insulation

Batt Insulation				per square foot			$  1.50		$ 1.50

Blown in Insulation			per square foot			$  1.20		$ 1.20

Yard and Landscaping

Minor Cleanup				job				$  200		$  200

Minor Cleanup				job				$  500 +		$500+

Landscaping                                                    job				$1k–5k         	$  500

Dumpster Rental

30 cubic yard				each				$  650		$  650

Furnace (Gas forced air, 92% efficiency, installed, minimal ductwork)

80,000 btu				up to 1000 sf, 9 ft ceilings		$2,000          	$2,000

100,000 btu				up to 2000 sf, 9 ft ceilings		$2,300          	$2,300

120,000 btu				up to 3000 sf, 9 ft ceilings		$2,500         	$2,500

Heat Pump				system				$5,000          	$4,000

Boiler unit				system				$ 4-5k	 	$ 4-5k

Ductwork				per linear foot			$ 5 – 7		$ 5 - 7

Central Air Unit (installed)

2.5 ton					up to 2000 sf, 9 ft ceilings		$2,500          	$2,500

3 ton					up to 3000 sf, 9 ft ceilings		$2,800          	$2,800

Window units				each				$ n/a		$  300

Plumbing

Copper ½ inch – basic one story		job				$3,000      	$3,000

Additional story				job				$2,000          	$2,000

Plaster and Lathe retrofit			job				   $$$		  $$$

Pex  – basic one story			job				$2,000          	$2,000

Additional story				job				$1,000          	$1,000

Soil Stacks

Basic one story				each				$1,000          	$1,000

Basic two story				each				$   800		$  800

Sewer Lines (simple replace)		job				$3,500          	$3,500

Rewiring

New service (if not covered by elec co)	job				$1,000          	$1,000

Replace weatherhead			job				$   600		$   600

New 200 amp panel & breakers		job				$2,000          	$2,000

Rewire single story house			job				$3,500          	$3,500

Single story – per device			job				$     50		$     50

Second story – per device			job				$     75		$     75

Hot Water Heater (installed)

40 gallon gas				each				$   800		$  800

40 gallon electric				each				$   900		$  900

50 gallon gas				each				$1,000		$1,000

50 gallon electric				each				$ 1,100		$1,100

75 gallon gas				each				$ 1,100         	$1,100

40 gallon electric				each				$ 1,200         	$1,200

Instantaneous				each				     $    500 - $2,000

Foundation and Structure

Stabilize foundation			per pier				$  500		$  500

Tear out and replace			job				$ 15-25k     	$15-25k

Sister in joists				each				$   50		$   50

Windows (Vinyl, double hung, installed)

Up to 99 united inches			each, average for whole house	$   300		$  250

Over 99 united inches			per additional inch		$       1		$      1

Exterior wrap in aluminum			per window			$     50		$    50

Glass Block 				each				$   120		$  120

Doors (installed)

Prehung interior 6 panel Masonite		each				$   150		$  150

Prehung interior 6 panel solid wood		each				$   200		$  200

Install by-pass doors			pair				$   150		$  150

Prehung exterior “leaded” (front door)	each				$   400		$  400

Prehung exterior 9-lite (back door)		each				$   300		$  300

Prehung exterior plain (basement)		each				$   250		$  250

“Bilco” door				each				$   600		$  600

Drywall

Hung, taped, finished to paint ready		per 4’ x 8’ board			$35 – 45       	$35-45

Additional charges may apply if strange layouts, curves, etc.

Interior Painting

Prepared wall surface			per room			$   400		$  300

Light patching 				per room			$   500		$  400

Heavy scraping / patching			per room and up			$   600		$  500

Typical 6 room, 3 bedroom, 1 bath						$4,000          	$2,500

Repaint (same colors)							$3,000          	$2,000

Kitchen Cabinets

Oak front, plywood sides			per linear foot of base cabinets	$   300		$  250

All wood					per linear foot of base cabinets	$   400		$  300

Custom					per linear ft of base cabinets	$   500+	 	  N/A

Paint the existing cabinets			job				$1,000		$1,000

Counter Tops (Laminate, stock colors/styles, installed)

No cuts or corners			per linear foot			$     25		$    25

Per mitre cut				each				$     50		$    50

Per endcap (finished edge)		each				$     10		$    10

Granite					per square foot			$     30+	 	  N/A

Appliances

Fridge					each				$   900		$ 200

Stove					each				$   550		$ 175

Microwave				each				$   225		$ 125

Dishwasher				each				$   404		$ 150

Range Hood				each				$    50		$   50

4 piece set White				set				$2,100

4 piece set Stainless Steel		set				$2,800

Bathroom

Gut and rebuild				job				$ 5,000       	$3,500

Update					job				$ 1,500       	$1,000

Carpet (installed with padding)

Low Grade (commercial type)		per square foot			   N/A	     	$ 1.10

Medium Grade				per square foot			$  3.00		$ 1.75

High Grade				per square foot & up		$  3.50+	   	N/A

Ceramic Tile Flooring

Tile with hardibacker or cement board	per square foot			$        6		$

“Allure” vinyl tile				per square foot			   N/A		$ 3.50

Hardwood Flooring

Sand and Refinish existing			per square foot			$2.50 – 4   	$2.50 - 4

Install new, sand and finish		per square foot			$  7 – 8		$ 7 - 8

Prefinished laminates			per square foot and up		$ 5 + up        	$ 3+up

Paint over wood floors			per square foot			  N/A		$      1

Miscellaneous Factor

3% of ARV for a light rehab, up to 10% (or more) for a major rehab, or one where there are likely to be a lot of gotcha’s involved.

For properties which have been vacant for over a year, have gone through a winter, etc…we use a minimum 10% miscellaneous factor.

If you use a General Contractor, expect to add 10 to 20% to these prices.